## Seismic_Defination
Index | Zone | Importance Factor (I) | Response Reduction Factor (R) | Design Acceleration Coefficient (Sag) | Damping(%) | Rock and Site Factor (S) | Time Period
1 | 0.16 | 1.5 | 3 | 0 | 5 | 2 | 0

## load_combinations_2
Index | Dead_Load | Live_Load | Earthquake_Load (x- direction) | Earthquake_Load (- x- direction) | Earthquake_Load (z- direction) | Earthquake_Load (-z- direction)
1 | 1 | 0 | 0 | 0 | 0 | 0
2 | 0 | 1 | 0 | 0 | 0 | 0
3 | 0 | 0 | 1 | 0 | 0 | 0
4 | 0 | 0 | 0 | 1 | 0 | 0
5 | 0 | 0 | 0 | 0 | 1 | 0
6 | 0 | 0 | 0 | 0 | 0 | 1
7 | 1.5 | 1.5 | 0 | 0 | 0 | 0
8 | 1.5 | 0 | 0.9 | 0 | 0 | 0
9 | 1.5 | 0 | 0 | 0.9 | 0 | 0
10 | 1.5 | 0 | 0 | 0 | 0.9 | 0
11 | 1.5 | 0 | 0 | 0 | 0 | 0.9

## Manual Calculation
|  | No. | area | Length | Member Load | self-Weight | Total MEM Load |  | Self Weight LUMP | Other Loads | Floor Loads | Self-weight | Other
Col | GL | 15 | 0.15 | 5 | 0 | 281.25 | 0 | 140.625 | 140.625 | 0 |  | 281.25
| 1st | 15 | 0.15 | 5 | 0 | 281.25 | 0 | 281.25 | 1166.25 | 3000 |  | 1166.25 | 3000 | 140.625
| 2nd | 15 | 0.15 | 5 | 0 | 281.25 | 0 | 281.25 | 1166.25 | 3000 |  | 1166.25 | 3000
| 3rd | 12 | 0.15 | 5 | 0 | 225 | 0 | 253.125 | 1138.125 | 3000 |  | 1110 | 3000
| 4th | 9 | 0.15 | 5 | 0 | 168.75 | 0 | 196.875 | 871.875 | 2280 |  | 843.75 | 2280
| 5th | 6 | 0.15 | 5 | 0 | 112.5 | 0 | 140.625 | 605.625 | 1560 |  | 577.5 | 1560
| 6th | 0 | 0.15 | 5 | 0 | 0 | 0 | 56.25 | 311.25 | 840 |  | 255 | 840
[9 empty] | 5400 |  |  | 5400 | 13680
Beamx | GL | 0 | 0.15 | 4 | 10 | 0 | 0 | 0
| 1st | 12 | 0.15 | 4 | 10 | 180 | 480 | 180 | 405 | 1080 |  |  | 19080
| 2nd | 12 | 0.15 | 4 | 10 | 180 | 480 | 180 | 405 | 1080
| 3rd | 12 | 0.15 | 4 | 10 | 180 | 480 | 180 | 405 | 1080
| 4th | 9 | 0.15 | 4 | 10 | 135 | 360 | 135 | 315 | 840
| 5th | 6 | 0.15 | 4 | 10 | 90 | 240 | 90 | 225 | 600
| 6th | 3 | 0.15 | 4 | 10 | 45 | 120 | 45 | 135 | 360
Beamz | GL | 0 | 0.15 | 6 | 10 | 0 | 0 | 0 | 0 | 0
| 1st | 10 | 0.15 | 6 | 10 | 225 | 600 | 225 | 480 | 1920
| 2nd | 10 | 0.15 | 6 | 10 | 225 | 600 | 225 | 480 | 1920
| 3rd | 10 | 0.15 | 6 | 10 | 225 | 600 | 225 | 480 | 1920
| 4th | 8 | 0.15 | 6 | 10 | 180 | 480 | 180 | 360 | 1440
| 5th | 6 | 0.15 | 6 | 10 | 135 | 360 | 135 | 240 | 960
| 6th | 4 | 0.15 | 6 | 10 | 90 | 240 | 90 | 120 | 480
Floors | GL | 0 | 24 | 0.1 | 10 | 0 | 0 | 0 | 14850 | 13680
| 1st | 8 | 24 | 0.1 | 10 | 480 | 1920 | 480
| 2nd | 8 | 24 | 0.1 | 10 | 480 | 1920 | 480 | 2160 | 28530
| 3rd | 8 | 24 | 0.1 | 10 | 480 | 1920 | 480
| 4th | 6 | 24 | 0.1 | 10 | 360 | 1440 | 360 | 12690
| 5th | 4 | 24 | 0.1 | 10 | 240 | 960 | 240
| 6th | 2 | 24 | 0.1 | 10 | 120 | 480 | 120
[6 empty] | 5118.75 | 13680 | 18798.75